## Slide 1
Done By Moh’d Saad Jalmood
To Dr. Malek Al Ahmed

## Slide 2: HEADING
What’s a shell and tube heat exchanger?
How dose it work ?
Common types of shell and heat exchangers
Some Pictures
The END !!

## Slide 4
Consist of two main things as it’s name implies Shell & Tubes
The shell is a large vassel with a number of tubes inside it .

## Slide 5
The principle of operation is simple enough: Two fluids of different temperatures are brought into close contact but they are not mixing with each other.
One fluid runs through the tubes, and another fluid flows over the tubes (through the shell) to transfer heat between the two fluids.

## Slide 8
The temperature of the two fluids will tend to equalize . The heat are simply exchanged from one fluid to the other and vice versa. No energy is added or removed.

## Slide 10: There are many types of shell-tube heat exchanger but the most common types in use are :-
U-Tube Heat Exchanger
Straight-Tube ( 1-Pass )
Straight-Tube ( 2-Pass )

## Slide 11: U-Tube Heat Exchanger

## Slide 12: Straight-Tube ( 1-Pass )

## Slide 13: Straight-Tube ( 2-Pass )

## Slide 15
Check this out !!

## Slide 17: U-Tube

## Slide 18: Different Shapes

## Slide 19: Many of them in just one factory !!

## Slide 20: At the End >>
We know the shell and tube heat exchanger consist of Shell side and the tubes inside it
Two fluids of different temperatures are brought into close contact but they are not mixing with each other , one fluid flows through the shell and the other fluid flows through the tubes
The temperature of the two fluids will tend to equalize . The heat are simply exchanged from one fluid to the other and vice versa.
There are three common types of the shell and tubes heat exchanger
1- U-Tube
2- Straight-Tube ( 1-Pass )
3 - Straight-Tube ( 2-Pass )
Shell and Tube Heat Exchanger comes with a lot of different shapes and sizes , It could be large or small or ….

## Slide 21: THE END

## Slide 22
Thank you !!
Merci beaucoup !!
Grazie !!
Arigatoo !!
Tesekkur ederim !
! Good luck !